# Specification Document: Sample Aliquoting Feature for OpenELIS Global

## Introduction

Sample aliquoting is a foundational process in clinical and research laboratories, providing the ability to split primary samples into traceable portions for distributed testing, storage, and reuse. For OpenELIS Global the implementation of an advanced aliquoting feature is a critical next step to support modern laboratory workflows, regulatory compliance, and data integrity.

## User Stories

This section details actionable user stories by role, providing context for the functional requirements and user experience. Each story includes concise acceptance criteria.

### Laboratory Technicians

- As a laboratory technician, I want to select a primary sample and create multiple aliquots in a guided, error-checked workflow so that I can prepare samples for distributed testing without risking mislabeling or volume errors.

  - Acceptance Criteria:

    - The aliquoting workflow displays current sample data (ID, type, available volume, parent sample metadata).

    - I can specify the number of desired aliquots and their target volumes.

    - The system prevents over-allocation of parent sample volume or negative residuals.

    - The UI auto-generates unique IDs and barcodes for new aliquots.

    - The sample ID is LABNO123.1, LABNO123.2, etc for each sample attached to an order, each aloquot would add -1, -2, -3, etc to the end.

    - EG: The sample LABNO123.2, with three aloquots would have the IDs (in the system and on the labels), LABNO123.2-1, LABNO123.2-2, LABNO123.2-3

    - Upon creation, each aliquot is linked to the parent sample lineage.

- As a technician, I want to scan barcodes to rapidly locate parent or aliquot samples, minimizing manual errors and speeding up my workflow.

  - Acceptance Criteria:

    - Barcode scanning is integrated into all search and sample selection dialogs.

    - Scanned aliquot or parent sample IDs pull up current status, location, and lineage instantly.

- As a technician, I want to assign specific analyses or tests to aliquots during creation or later editing, ensuring each aliquot is routed to the correct workflow.

  - Acceptance Criteria:

    - At time of aliquot creation, I can select from eligible test panels for each aliquot.

    - Test assignment is validated against remaining aliquot volume and lab protocols.

    - I can view and edit test assignments before aliquot submission to the next stage.

- As a technician, I want to document the storage location for each aliquot-including freezer, shelf, box-so I can retrieve it efficiently for downstream testing. NOTE: Mozzy is working on the freezer storage display in general.

  - Acceptance Criteria:

    - Guided location selection with hierarchy (room > freezer > shelf > box > position).

    - Quick search, dropdown, and barcode options for rapid entry.

    - Storage is auditable and tracked historically.

### Laboratory Managers

- As a lab manager, I want to audit the complete lineage of each aliquot-including chain of custody, volume consumed, and test assignments-so I can trace errors, nonconformities, and regulatory issues.

  - Acceptance Criteria:

    - Lineage tables and graphical representations show all parent-child relationships.

    - Each event (creation, assignment, relocation, consumption) is time-stamped and attributable to a user.

    - The audit trail is exportable and filterable by sample/aliquot/test/location/action.

- As a manager, I want to configure standard aliquoting templates for different sample types and protocols, ensuring consistent preparation and reducing training time for new staff.

  - Acceptance Criteria:

    - I can define reusable templates (e.g., “Blood DNA: split into 5×1mL aliquots with PCR”).

    - Templates support default tests, volumes, storage defaults, and required fields.

    - Users can select a template or manually override settings with appropriate permissions.

- As a manager, I want to approve or reject aliquoting events before they are finalized (if workflow requires managerial sign-off), safeguarding the quality and compliance of sample processing.

  - Acceptance Criteria:

    - Configurable workflow step for approval/review before aliquots become available for subsequent testing.

    - Review screens present summary of aliquot details, volume calculations, and test plans.

    - Actions are tracked in the audit trail.

### System Administrators

- As an administrator, I want to integrate aliquoting operations into the RESTful OpenELIS API, allowing bulk sample processing and interoperability with robotic, automated instruments, or external LIMS/ELN systems.

  - Acceptance Criteria:

    - CRUD operations for aliquots, with full lineage and audit trail exposure via REST endpoints.

    - Volume/consumption is validated at the API layer to prevent anomalies.

    - API authentication and authorization respects RBAC constraints.

- As an administrator, I want to configure labels globally to reflect laboratory policies

  - Acceptance Criteria:

    - System settings for aloquot barcode size

    - https://testing.openelis-global.org/MasterListsPage#barcodeConfiguration

## Functional Requirements

The following requirements represent the minimum and extended feature set for a comprehensive aliquoting module. Where relevant, each requirement maps to the IBM Carbon Design System for UI consistency and accessibility.

### 1. Aliquot Creation

- Create aliquots from a primary sample, specifying:

  - Number of aliquots

  - Target or auto-calculated volumes (button for split evenly)

  - Test/analysis assignment per aliquot

  - Storage location assignment

  - Use of templates for repeat processes

- Automated checks ensure:

  - Parent sample volume is not exceeded

  - Aliquot naming and barcode IDs are unique and linked in lineage

  - Only permitted users (Results, Reception permissions) can create aliquots for given sample types

- Bulk/plate formats supported:

  - Ability to generate aliquots in plate layouts (e.g., 96-well), including merging, splitting, and batch processing

- UI flows:

  - Modal or wizard-based step-through with validation at each stage (built with Carbon Modal, Form, and DataTable components)

### 2. Sample Lineage and Chain of Custody

- Hierarchical parent-child relationships maintained at all times:

  - Full history from original sample through all generations of aliquoting

- Lineage visualization:

  - Carbon DataTable for lists; expandable tree view for complex chains

- Chain of custody events:

  - Every interaction (creation, move, test assignment, external transfer, disposal) produces an immutable audit event with who, what, when, and why

- Database model:

  - Sample, Aliquot, Derivative entities; parent/child foreign keys; lineage traversal utilities

### 3. Volume Tracking and Calculation

- Automated volume math:

  - System calculates remaining parent sample volume after each aliquot transaction

  - Supports rounding, (EG: option to split equally)

- Residual volume handling:

  - Warnings for unallocated remainders or underflow

  - Option to deplete parent on exhaustion

  - Editable by authorized users (with audit log)

- Edge cases:

  - Partial aliquot discard, loss reporting, merge back, split off further derivatives

### 4. Test Assignment and Routing

- Test panels and analyses can be attached to aliquots:

  - Defaulted by template/sample type, editable by technician/manager

- Validation:

  - Tests requiring minimum volume, special handling, or storage conditions trigger warnings

- Order routing:

  - Aliquots linked to worklists and printed orders, including for integrated robotic automation

### 5. Storage Location Management

- Hierarchical storage mapping:

  - System maintains tree: room > freezer > shelf > container (box, plate) > position

- Location assignment:

  - Dropdown, quick-pick, or barcode-driven assignment at creation or move

- Container/plate visualization:

  - Plate maps, box grids using Carbon’s grid/DataTable for real-time updates and search

- Audit trails for all moves/relocations:

  - Every change tracked and reportable by user/date/action

### 6. Audit Trails and Event Logging

- Full audit compliance:

  - 21 CFR Part 11/ISO 15189: every life cycle event is tracked, non-repudiable, exportable

- Immutability:

  - No action can overwrite or delete historical events; reversals are new events.

- Filters and reporting:

  - Filter audit logs by sample/aliquot/test/location/action/user/date range

- Regulatory reporting:

  - Export signed audit reports (PDF, CSV)

### 7. Search, Inventory, and Dashboards

- Multi-criteria search:

  - Carbon Search component supports search by ID, barcode, lineage, test status, storage, and metadata fields

- Inventory management:

  - See all aliquots by sample type, testing phase, location, status (with batch actions)

- Dashboards:

  - Overview widgets for sample inventory, aliquot throughput, low-stock alerts, pending approvals

### 8. Permissions and Access Control

- Granular RBAC:

  - Control access to aliquot creation, editing, deletion, test assignment, storage assignment, and audit reporting: Audit trail is separate, other ones are assigned to “Results”

### 9. API and Automation Support

- RESTful endpoints:

  - CRUD for aliquots and sample lineages

  - Bulk operations, e.g., arrayed aliquot generation, batch updates

- Integration hooks:

  - Webhooks, event notifications for downstream ELN/LIMS/robotic handling

- Input/output validation:

  - All API endpoints perform volume, naming, and permission checks

## Business Logic

The core business logic encapsulates the rules, calculations, constraints, and edge-case handling required to standardize aliquoting operations.

### Lineage and Integrity

- On aliquot creation:

  - New aliquot record inherits all relevant metadata (sample type, patient ID, date/time) from parent

  - Aliquot receives new unique ID and links to parent (Sample → Aliquot via parent_sample_id)

  - Chain of custody event created (event_type: "aliquot_create", user, timestamp)

- Aliquoting is recursive:

  - Aliquots can themselves be aliquoted, creating a n-level hierarchy (Sample → Aliquot1 → Aliquot2...)

- No parent sample can be fully depleted unless all aliquoted volume is consumed; warnings and/or blocking on negative volume

### Volume Calculation and Validation Algorithms

- On entering desired aliquot count or size:

  - System calculates total volume required, including configuration-defined dead-volume or minimum leftover (e.g., for certain instruments).

  - If requested total > available parent sample, block operation and display validation error.

  - If less, prompt to allocate leftover to "residual" aliquot or discard (with audit).

  - All calculations are performed to the defined precision for lab policies (e.g., 1 or 2 decimal places).

- Special handling:

  - Alert or lockout for fractions below minimum safe/pipettable volume.

  - Color warnings for over-allocation, underflow, or mismatched template.

### Test Assignment Logic

- Default test panels loaded based on template, sample type, and/or project

- Volume validation cross-referenced:

  - If assigned test requires 0.5mL and aliquot is 0.3mL, block or warn.

- Changes to test assignment are logged as separate events, and may require supervisor approval (if configured)

### Storage Location Logic

- Upon entering or scanning location:

  - System verifies that location is active, available, and of the correct container type

  - Prevents double-booking of a position (e.g., plate well already occupied)

  - Can block move to certain locations based on sample/test type (e.g., not permitted in ambient storage)

### Audit and Compliance Logic

- Event log entries are generated in real-time for:

  - Creation, editing, deletion (if allowed), movement, test assignment, result entry, archiving

- Each log entry comprises:

  - Event type, entity, reference/sample/aliquot IDs, user, datetime, change details (before/after), system validation outcome

- Tamperproof:

  - No alteration of prior entries; corrections made as new events

### Role-Based Access Control Logic

- Each action is mapped to one (or more) access levels:

  - e.g., Only Supervisors can delete aliquots, Technicians can create/edit under quota, Admin can override policies under exception

- Permissions can be scoped by sample type, project, or lab unit

### API and Integration Logic

- All business logic applies equally to UI and API operations

  - Bulk creation endpoints require the same validations

  - Data returned in standard JSON:API format with lineage and event links

- Workflow automation:

  - Sequence of actions (e.g., create aliquots ⇒ assign to tests ⇒ generate instrument worklist) is automatable via API calls

## UI Mockups and Descriptions (IBM Carbon Design System)

This section describes and visually outlines the key UI flows, referencing Carbon components and layout philosophy. [These are narrative, not image files, and adhere to IBM Carbon v11 components and design tokens.]

### 1. Aliquot Creation Wizard

Step 1: Select Parent Sample

- Carbon DataTable listing primary samples with filters/search.

- Row expansion to view existing aliquots, location, volume remaining.

- Selection triggers next step.

Step 2: Aliquot Configuration

- Carbon Form/Modal:

  - Number of aliquots (NumberInput)

  - Volume per aliquot (NumberInput, with auto-calc for equal/remaining)

  - Test panel selection (MultiSelect, dynamically filtered)

- Volume gauge (ProgressBar) displays parent consumption as aliquots are configured.

- Real-time validation: block proceed if over-allocated, show warning if under-utilized.

- "Use Template" dropdown (ComboBox) for standard aliquoting.

Step 3: Storage Assignment

- Carbon Hierarchical ComboBox or BreadCrumb navigation for room→freezer→shelf→container.

- Grid or DataTable for container layout (e.g., plate, box positions with occupancy indicator).

- Option for barcode scanning as alternative to manual navigation.

Step 4: Review & Confirm

- Summary card with aliquot table (DataTable: Aliquot ID, volume, assigned test, location).

- Carbon InlineNotification for any errors or warnings (e.g., volume constraints).

- Final confirmation button with processing spinner.

### 2. Aliquot List/Search

- Persistent Carbon Table with pagination, filtering, and inline search:

  - Columns: Aliquot ID, Parent Sample ID, Volume Remaining, Test Assigned, Current Location, Creation Date, Status

  - Batch actions for move, delete (if permitted), reassign test, archive

- Lookup by barcode (Scan input at header), instant result highlight

### 3. Lineage/Audit View

- Expandable tree view (using Carbon TreeView or custom expansion in DataTable) to show ancestry and descendants.

- Audit log panel as side-drawer:

  - Timeline (Carbon List) with one event per row (action, user, time)

  - Click on event reveals change details (old/new)

### 4. Storage Location Dashboard

- Hierarchical navigation sidebar:

  - Rooms → Freezers → Shelves → Containers

- Container detail page:

  - Grid/box visualization (plate: grid; box: slot cards)

  - Each cell shows aliquot barcode/ID, color-coded by analysis state, volume, or age.

- "Move Aliquot" action sheet for quick assignment

### 5. Admin Settings: Permissions, Steps, Templates

- Carbon DataTable listing roles and permissions per role (MatrixEdit)

- Template management page:

  - DataTable with template name, sample type, default tests, default aliquot params

  - Create/Edit modal forms

### 6. REST API Console

- Embedded interactive API explorer (Swagger UI or similar) for admins

- Read-only for non-admins

## Data Model Extensions

Entities:

| Entity | Fields (key)* | Relationships |
| --- | --- | --- |
| Sample | sample_id, subject_id, sample_type, collected_at, volume_total, volume_remaining, location_id | One-to-many (Sample→Aliquot) |
| Aliquot | aliquot_id, parent_sample_id, created_at, volume, status, location_id, test_ids[] | Many-to-one (Aliquot→Sample), Can have parent_aliquot_id |
| Location | location_id, parent_location_id, type, description | Storage hierarchy |
| AuditEvent | event_id, entity_type, entity_id(s), user_id, timestamp, action, details (before/after) | Linked to Sample/Aliquot/Location |
| TestAssignment | assignment_id, aliquot_id, test_id, assigned_by, assigned_at | One-to-many (Aliquot→TestAssignments) |
| Template | template_id, name, sample_type, default_tests[], default_volumes[] | For reuse |

*Other relevant fields as per OpenELIS data standards

## Integration and Extension Points in OpenELIS Global

- Aliquoting feature is provided as a pluggable module, leveraging existing extensibility points in the OpenELIS Java Spring backend and React frontend (see [OpenELIS-Global-2 codebase]).

- Frontend: New React components use Carbon Design System packages and can be delivered as an npm package or in the main codebase.

- Backend: Exposed via OpenELIS REST API, using Java Spring controllers/services.

- Data migration/upgrade scripts handle pre-existing sample data.

- Bulk data import/export integrates with external Biobank/LIMS or instrument systems via standardized CSV or HL7 FHIR as appropriate.

- Supporting documentation and roadmap planning are updated via the main OpenELIS documentation and collaboration platforms.

## Roadmap and Release Planning

Phase 1: Minimum Viable Product (MVP)

- Basic aliquot creation for single parent samples via UI

- Lineage tracking and simple audit log

- Manual test assignment and storage location

- Search and inventory dashboard

Phase 2: Advanced Features

- Bulk/plate-based aliquoting

- Workflow automation and approval steps

- Role-based permissions

- Storage and location editors

- REST API support for all sample/aliquot actions

Phase 3: Integrations, Optimization, and Compliance

- Instrument and robotic integration (worklist generation)

- Full configurable templates and automation

- Data migration utility for legacy sample records

- Comprehensive regulatory audit reports

- API versioning, documentation

Release Approach:

- Feature-flagged deployment in OpenELIS development branch for testing

- Staged rollout per laboratory partner feedback and priority

- Continuous integration and test automation for core aliquoting flows

- Backward compatibility and data integrity maintained throughout

## Summary Table: Core Feature Breakdown

| Feature | UI Component (Carbon) | Business Rule/Logic | API Support | Auditability | Permissions |
| --- | --- | --- | --- | --- | --- |
| Aliquot Creation | Modal, Form, DataTable | Volumes, IDs, lineage | Yes | Full | Technician+ |
| Test Assignment | MultiSelect, DataTable | Test-volume checks, assignment | Yes | Full | Technician+ |
| Storage Location | BreadCrumb, Grid, Combo | Container types, availability | Yes | Full | Technician+ |
| Lineage/Audit Trail | TreeView, Table | Parent-child, event sequence | Read-only | Full | All roles |
| Inventory, Search | Table, Search, Dashboard | Multi-field, barcode lookup | Partial (API) | Partial | All roles |
| RBAC | MatrixEdit, Form | Permission enforcement | N/A | N/A | Admin |
| Bulk/Plate Processing | Table/Grid | Plate map, well checks | Yes | Full | Technician+ |

## Justification and Integration with Industry Standards

This specification draws best practices from leading laboratory sample management platforms and regulatory standards:

- Sample traceability and chain of custody: As seen in AduroSys, Veeva LIMS, Thermo Scientific SampleManager, and Lockbox LIMS, a robust lineage model is the foundation for reliable sample and derivative tracking, ensuring sample provenance can be reconstructed and verified23.

- Volume management and calculation integrity: Algorithms are designed to prevent sample exhaustion, misallocation, or data integrity lapses, aligning with GxP/ISO 15189 standards.

- Flexible, automated, and auditable workflows: Guided workflows based on reusable templates promote accuracy and compliance, especially in busy or high-throughput environments4.

- Regulatory-compliant audit logging: Full lifecycle event logging is required for ISO 17025, CAP, CLIA, and FDA-regulated labs, as implemented in industry-leading LIS/LIMS systems56.

- Modern, accessible, maintainable UI: All components and layouts use the IBM Carbon Design System to ensure clarity, accessibility, and ease of future evolution78.

- RESTful API compatibility: LIMS/LIS integrations, robotic/sample automation, and bulk sample management are standard for scalable, future-ready systems910.

- Role-based access control: RBAC ensures separation of duties and accountability across all laboratory, management, and administrative roles, supporting regulatory and operational requirements1112.

## Conclusion

By providing a comprehensive, deeply integrated, and user-friendly aliquoting feature, OpenELIS Global can meet and exceed the needs of laboratories operating under increasingly complex and regulated conditions. This specification creates a path for robust sample lineage, accurate volume and test management, transparent auditability, and integration with modern digital laboratory workflows.

All components, requirements, and workflows have been carefully constructed to balance maximum laboratory utility, user experience, and future platform extensibility-empowering OpenELIS users to maintain the highest standards of scientific and operational excellence.

# References (18)

1. OpenELIS Global - Global Goods Guidebook. https://globalgoodsguidebook.org/?global_goods=openelis-global

2. Aliquoting in Veeva LIMS . https://lims.veevavault.help/en/gr/51412709/

3. Microsoft Word - Witty - Thesis Precision Aliquotting - Final 5 ... - IU. https://scholarworks.indianapolis.iu.edu/bitstream/handle/1805/3521/Witty%20-%20Thesis%20Precision%20Aliquotting%20-%20Final%20Signed%208-Jun-2012.pdf?sequence=1

4. Unlocking Precision: Best Practices in Aliquoting / Sampling. https://www.alcami.com/blog/unlocking-precision-best-practices-in-aliquoting-sampling/

5. Audit Trails . https://www.lablynx.com/solutions/audit-trails/

6. Guarantee Data Security & Compliance: Lab Audit Trails Explained. https://www.thelabhq.com/resource-centre/data-security-compliance-the-importance-of-audit-trails

7. Carbon Web Components. https://web-components.carbondesignsystem.com/?path=/docs/components-datatable-basic--overview

8. Carbon for IBM Products - GitHub. https://github.com/carbon-design-system/ibm-products

9. RESTful API Design: Best Practices and Common Pitfalls. https://dev.to/soham_galande/restful-api-design-best-practices-and-common-pitfalls-1lg4

10. SampleManager LIMS - Thermo Fisher Scientific. https://www.thermofisher.com/us/en/home/digital-solutions/lab-informatics/lab-information-management-systems-lims/solutions/samplemanager.html

11. Role-Based Access Control Implementation . https://www.lumos.com/topic/rbac-role-based-access-control-implementation

12. A Step-by-Step Guide to Role-Based Access Control for LIMS Software .... https://spc-software.us/a-step-by-step-guide-to-role-based-access-control-for-lims-software-users